Appendix 1 – Reference Guide/Poster: Daily / Weekly Checklist ()

Unless otherwise stated, general purpose detergent and water or detergent wipes should be used for all routine cleaning.

If an item is heavily soiled detergent and water is the preferred method.

Equipment that is contaminated with blood or body fluids MUST be decontaminated as per the NHSGGC Decontamination SOP.

This list is not exhaustive but gives a guide to commonly used equipment within clinical areas.

| Item | Between Patients | Daily | Weekly | Method of cleaning |  | Comments |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Water and detergent/detergent wipes | Chlorine based detergent |  |
| Baths |  |  |  |  |  |  |
| Bath Aids |  |  |  |  |  |  |
| Bed base (top & bottom) |  |  |  |  |  |  |
| Bed/cot sides |  |  |  |  |  |  |
| Bed End/Head Plate |  |  |  |  |  |  |
| Bead overhead lamp |  |  |  |  |  |  |
| Bed pan holders |  |  |  |  |  |  |
| Bed tables |  |  |  |  |  |  |
| Bidets |  |  |  |  |  |  |
| Blood pressure stands & monitor cuffs |  |  |  |  |  |  |
| Bowls/ washing basins | * |  |  |  |  | *Only clean between patients if a multi use item |
| Case note trolley |  |  |  |  |  |  |
| Chairs - Bedside |  |  |  |  |  |  |
| Chairs – Waiting Areas | * |  |  |  |  | *At the end of the clinic unless visibly contaminated with blood/body fluid |
| Clean O2 and Suction (ensure clean tubing and Yankauer suction tube available) |  |  |  |  |  |  |
| Commodes |  |  |  |  |  |  |
| Computers/ keyboards |  |  |  |  |  | After use |
| Crockery and Cutlery |  |  |  |  |  | Water and bactericidal detergent/dishwasher |
| Dispensers (Gloves/Apron/ Alcohol gel/Hand towel/Soap) | * |  |  |  |  | If In single inpatient room |
| Duvets (wipe clean type) |  |  |  |  |  |  |
| ECG equipment |  |  |  |  |  |  |
| Enteral feeding pumps |  |  |  |  |  |  |
| Bladed Fans |  |  |  |  |  | Bladeless fans should not be used |
| Fridge (patient only) |  |  |  |  |  |  |
| Hoists |  |  |  |  |  |  |
| Infusion pumps |  |  |  |  |  |  |
| Infusion Stands |  |  |  |  |  |  |
| Locker top/sides/back |  |  |  |  |  |  |
| Locker internal |  |  |  |  |  |  |
|  |  |  |  | Water and detergent/detergent wipes | Chlorine based detergent |  |
| Macerator |  |  |  |  |  |  |
| Mattress |  |  |  |  |  |  |
| Medical gas cylinders & stands |  |  |  |  |  | No alcohol based solutions |
| Monitors - mobile |  |  |  |  |  |  |
| Monitors - wall mounted |  |  |  |  |  |  |
| Nurse call system |  |  |  |  |  |  |
| Nurse call system – Sanitary Area |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |
| Pillows |  |  |  |  |  |  |
| Scales |  |  |  |  |  |  |
| Shower chairs |  |  |  |  |  |  |
| Suction equipment |  |  |  |  |  |  |
| Telephone (desk and deck phones) |  |  |  |  |  | Before and after each use |
| Trolley – beverage |  | * |  |  |  | *And before each use |
| Trolley - dressing |  |  |  |  |  | Before and after each use |
| Trolley – medicine |  |  |  |  |  |  |
| Trolley - patient |  |  |  |  |  |  |
| Trolley – resuscitation |  |  |  |  |  |  |
| Walking aids |  |  |  |  |  |  |
| Wheelchairs |  |  |  |  |  |  |