# Appendix 4 - Bed Space Checklist for Critical Care Areas (e.g. PICU, ITU and HDU)

| HOSPITAL: |  |
| --- | --- |
| WARD: |  |
| Date: Time: |  |
| Room: Bed Space: |  |
| Tick as completed when patient is discharged or once weekly, whichever comes first |  |
| Clean O2 and Suction |  |
| Empty and clean Bedside Locker |  |
| Clean Bed Table / equipment trolley |  |
| Clean Patient / parent chair |  |
| Clean Basin |  |
| Clean Buzzer |  |
| Clean Hand Rub Nozzle and replace if required |  |
| *Clean Mattress (unzip mattress cover and inspect mattress for any contamination) if cot mattress this should be checked for any obvious breaks in the fabric) |  |
| Clean Bed / Cot / Incubator Frame (including bed rails) |  |
| Clean Pendants and Monitoring / Infusion Equipment |  |
| Clean and re-stock trolleys etc |  |
| Check and clean bedside / overhead lamp |  |
| Wipe clean the Duvet and Pillows |  |
| Infection Control Leaflets replaced (discard unused leaflets) |  |
| ** |  |
| ** |  |
| ** |  |
| PLEASE ENSURE ANY FAULTY EQUIPMENT IS REPORTED TO ESTATES OR MEDICAL PHYSICS AS SOON AS IT IS DISCOVERED |  |
| PRINT NAME |  |
| DESIGNATION |  |
| SIGNATURE |  |

* 	If a mattress is found to be contaminated, remove from use and inform the SCN.  The SCN will 	inform the Lead Nurse or Service Manager.

** 	Please list any critical near patient equipment specific to your ward or clinical area that requires    weekly inspection.